{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":96,"n_cols":9,"rows_kept":96,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ACQ-D"]
[]
[]
[]
[]
["","","","","","ACQ71DV1","ACQ100DV1","ACQ125DV1","ACQ140DV1"]
["Ljudtrycksnivå","Värme","","Hög","dBA","","44","","47"]
["","","","Nom.","dBA","","41","","44"]
["","","","Tyst drift","dBA","","36","","41"]
["","","","Låg","dBA","","38","","43"]
["","Kyla","","Tyst drift","dBA","","36","","41"]
["","","","Låg","dBA","","38","","43"]
["","","","Hög","dBA","","44","","47"]
["","","","Nom.","dBA","","41","","44"]
["Standardtillbehör","Installationsanvisning","","","","","Installationsanvisning","","Installationsanvisning"]
["","Bruksanvisning","","","","","Bruksanvisning","","Bruksanvisning"]
["","Skruvar","","","","","Skruvar","","Skruvar"]
["","Bricka","","","","","Bricka","","Bricka"]
["","Trådlös fjärrkontroll","","","","","Trådlös fjärrkontroll","","Trådlös fjärrkontroll"]
["","Täcklocksgaller","","","","","Täcklocksgaller","","Täcklocksgaller"]
["","Batteri","","","","","Batteri","","Batteri"]
["Control systems","Wired remote control","","","","","ARCWB","","ARCWB"]
["","Infrared remote control","","","","","ARCWLA","","ARCWLA"]
["Piping connections","Vätska","","YD","mm","","9.52","","9.52"]
["","Gas","","YD","mm","","15.88","","15.88"]
["","Drain","","","","","19.05","","19.05"]
["Power input","Kyla","","Nom.","kW","","0.094","","0.137"]
["","Värme","","Nom.","kW","","0.094","","0.137"]
["Ljudeffektsnivå","Kyla","","","dBA","","56","","60"]
["","Värme","","","dBA","","56","","60"]
["Mått","Enhet","","Bredd","mm","","820","","820"]
["","","","Djup","mm","","820","","820"]
["","","","Höjd","mm","","300","","300"]
["Hölje","Material","","","","","Galvaniserat stål","","Galvaniserat stål"]
["Vikt","Enhet","","","kg","","39","","39"]
["Fläkt","Luftflödeshastighet","Värme","Hög","m³/min","","29.2","","34.0"]
["","","","Låg","m³/min","","21.0","","26.3"]
["","","","Nom.","m³/min","","24.4","","29.2"]
["","","Kyla","Låg","m³/min","","21.0","","26.3"]
["","","","Nom.","m³/min","","24.4","","29.2"]
["","","","Hög","m³/min","","29.2","","34.0"]
["","","","Tyst drift","m³/min","","17.6","","22.1"]
["","","Kyla","Tyst drift","m³/min","","17.6","","22.1"]
["Dekorationspanel","Vikt","","","kg","","4","","4"]
["","Mått","","Höjd","mm","","82","","82"]
["","","","Djup","mm","","990","","990"]
["","","","Bredd","mm","","990","","990"]
["","Färg","","","","","Vit","","Vit"]
["Power supply","Phase","","","","","1~","","1~"]
["","Namn","","","","","V1","","V1"]
["","Frequency","","","Hz","","50","","50"]
["","Spänning","","","V","","220-240","","220-240"]
["Fläkt","Luftflödeshastighet","Värme","Tyst drift","m³/min","15","","22.1"]
["Ineffekt","Värme","","Nom.","kW","0.067","","0.137"]
["","Kyla","","Nom.","kW","0.067","","0.137"]
["Fläkt","Luftflödeshastighet","Kyla","Tyst drift","m³/min","15","","22.1"]
["Hölje","Material","","","","Galvaniserat stål","","Galvaniserat stål"]
["Mått","Enhet","","Höjd","mm","265","","300"]
["","","","Bredd","mm","820","","820"]
["","","","Djup","mm","820","","820"]
["Vikt","Enhet","","","kg","31","","39"]
["Fläkt","Luftflödeshastighet","Kyla","Hög","m³/min","24.4","","34"]
["","","","Nom.","m³/min","20.5","","29.2"]
["","","","Låg","m³/min","17.6","","26.3"]
["","","Värme","Hög","m³/min","24.4","","34"]
["","","","Nom.","m³/min","20.5","","29.2"]
["","","","Låg","m³/min","17.6","","26.3"]
["Ljudeffektsnivå","Kyla","","","dBA","54","","60"]
["","Värme","","","dBA","54","","60"]
["Ljudtrycksnivå","Kyla","","Hög","dBA","41","","47"]
["","","","Nom.","dBA","38","","44"]
["","","","Låg","dBA","35","","43"]
["","","","Tyst drift","dBA","32","","41"]
["","Värme","","Hög","dBA","41","","47"]
["","","","Nom.","dBA","38","","44"]
["","","","Låg","dBA","35","","43"]
["","","","Tyst drift","dBA","32","","41"]
["Röranslutningar","Vätska","","YD","mm","9.52","","9.52"]
["","Gas","","YD","mm","15.88","","15.88"]
["","Kondensvatten","","","","19.05","","19.05"]
["Dekorationspanel","Mått","","Höjd","mm","82","","82"]
["","","","Bredd","mm","990","","990"]
["","","","Djup","mm","990","","990"]
["","Vikt","","","kg","4","","4"]
["Styrsystem","Infraröd fjärrkontroll","","","","ARCWLA","","ARCWLA"]
["","Kabelansluten fjärrkontroll","","","","ARCWB","","ARCWB"]
["Standardtillbehör","Installation manual","","","","Installation manual","","Installation manual"]
["","Wireless remote control","","","","Wireless remote control","","Wireless remote control"]
["","Cover lock grill","","","","Cover lock grill","","Cover lock grill"]
["","Battery","","","","Battery","","Battery"]
["","Operation manual","","","","Operation manual","","Operation manual"]
["","Screws","","","","Screws","","Screws"]
["","Washer","","","","Washer","","Washer"]
["Strömförsörjning","Fas","","","","1~","","1~"]
["","Frequency","","","Hz","50","","50"]
["","Spänning","","","V","220-240","","220-240"]