{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":18,"n_cols":3,"rows_kept":18,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","RRDQ-V1"]
[]
[]
[]
[]
["","","RRDQ220V1"]
["Standardtillbehör","1/4” serviceslang med kulventil (röd) 152 cm (AR344)","1/4” serviceslang med kulventil (röd) 152 cm (AR344)"]
["","1/4” serviceslang med kulventil (blå) 152 cm (AR345)","1/4” serviceslang med kulventil (blå) 152 cm (AR345)"]
["","Filter (TF011)","Filter (TF011)"]
["","Torrfilter med molekylsikt (AR179E)","Torrfilter med molekylsikt (AR179E)"]
["","Inspektionsglas 1/4\" (ES603)","Inspektionsglas 1/4\" (ES603)"]
["","Klämringskoppling 1/4” invändig gänga x 1/4” invändig gänga (BF0020)","Klämringskoppling 1/4” invändig gänga x 1/4” invändig gänga (BF0020)"]
["","Användarhandbok RRDQ220V1 (IM0496)","Användarhandbok RRDQ220V1 (IM0496)"]
["","Liquid Charge Adapter 1/4” - Används till återvinningen av R134a (alternativa tillbehör)","Liquid Charge Adapter 1/4” - Används till återvinningen av R134a (alternativa tillbehör)"]
["Anm:","","(1) - Specifikationerna kan komma att ändras utan föregående avisering därom."]
["","","(2) - Återvinningfrekvens varierar vid olika förhållanden"]
["","","(3) - Vid återvinning av R134a, följ sida 11 i användarhandboken"]
["","","(4) - Återvinningsresultaten varierar beroende på kontamineringen av köldmediet som ska återvinnas"]